QUESTIONNAIRE

Automated gas distribution station

Juldyz AGDS

LLP Standard 180 240 017 442-001-2018

According to TU Specification, AGDS can be manufactured for any performance and with any number of outlet lines.

Individual units and modules of AGDS can be supplied for renovation and overhaul purposes at existing facilities.

Please, underline the options of "YES | NO", as necessary, when filling out this questionnaire.

| 1. | AGDS inlet calculated gas pressure, MPa | Min |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Max |  |  |  |  |  |  |  |
| 2. | AGDS inlet operating pressure, MPa | Min |  |  |  |  |  |  |  |
|  |  | Max |  |  |  |  |  |  |  |
| 3. | Number of outlet lines |  |  |  |  |  |  |  |  |
| 4. | Gas consumption per each consumer, individually, m3/h (at P=0.1013MPa, T =293.15K) | Consumer | I |  | II |  | III | IV |  |
|  |  | Min |  |  |  |  |  |  |  |
|  |  | Max |  |  |  |  |  |  |  |
| 5. | Gas pressure at each outlet line, individually, MPa | Consumer | I |  | II |  | III | IV |  |
|  |  | Min |  |  |  |  |  |  |  |
|  |  | Max |  |  |  |  |  |  |  |
| 6. | Climatic version according to GOST 15150-69 |  |  |  |  |  |  |  |  |
| 7. | Ambient temperature, °C | Min |  |  |  |  |  |  |  |
|  |  | Max |  |  |  |  |  |  |  |
| 8. | Seismicity according to SP Standard 14.13330.2018, intensity degrees |  |  |  |  |  |  |  |  |
| 9. | Snow load, kPa |  |  |  |  |  |  |  |  |
| 10. | Wind load, kPa |  |  |  |  |  |  |  |  |
| 11. | AGDS inlet gas temperature, °C | Min |  |  |  |  |  |  |  |
|  |  | Max |  |  |  |  |  |  |  |
| 12. | AGDS outlet gas temperature, °C | Min |  |  |  |  |  |  |  |
|  |  | Max |  |  |  |  |  |  |  |

| 13. | AGDS bypass line design along the gas flow |  |  | Manual valve – gate valve |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  | NO |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Manual valve - control valve |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  | NO |  |  |  |  |
|  |  |  |  | Controlled valve – control valve – manual valve |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  | NO |  |  |  |  |
|  |  |  |  | Specify your own option |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14. | Gas purification unit for treatment from mechanical impurities and droplet liquid |  |  | YES |  |  |  |  |  |  |  | NO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14.1 | The degree of gas purification from solid impurities, μm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14.2 | Redundant design of Gas purification unit for treatment from mechanical impurities and droplet liquid |  |  | YES |  |  |  |  |  |  |  |  | NO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14.3 | Type of shut-off valve actuator of Gas purification unit |  |  | Manual |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  | NO |  |  |  |  |  |  |
|  |  |  |  | Remote |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  | NO |  |  |  |  |  |  |
| 14.4 | Automatic discharge into the drainage tank from Gas purification unit |  |  | YES |  |  |  |  |  |  | NO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14.5 | Gas purification unit completed with condensate collection tank (specify the volume and type of design) |  |  | Type |  |  | Volume, m3 |  |  |  |  |  |  |  |  |  |  | No |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Underground |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Aboveground |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15. | Gas heating unit |  |  | YES |  |  |  |  |  | NO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15.1 | Redundant design of Gas heating unit |  |  | YES |  |  |  |  |  | NO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15.2 | Type of shut-off valve actuator of Gas heating unit |  |  | Manual |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  |  |  | NO |  |  |
|  |  |  |  | Remote |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  |  |  | NO |  |  |
| 16. | Gas pressure reducing unit |  |  | YES |  |  |  |  | NO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16.1 | Redundant design of Gas pressure reducing unit |  |  | YES |  |  |  |  | NO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16.2 | Regulation error for outlet gas pressure, % |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16.3 | Type of gas pressure regulator |  |  | Regulator + Monitor |  |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  | NO |  |  |  |  |
|  |  |  |  | Shutoff + Regulator |  |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  | NO |  |  |  |  |
|  |  |  |  | Specify your own option |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16.4 | Presence of a gas flow limitation function |  |  | YES |  |  |  | NO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17. | Gas flow metering unit |  |  | YES |  |  |  | NO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17.1 | Location of the gas flow metering unit |  |  | Downstream of the inlet valve |  |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  | NO |  |  |  |
|  |  |  |  | Downstream of the reducing unit |  |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  | NO |  |  |  |
|  |  |  |  | Upstream of the reducing unit |  |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  | NO |  |  |  |
|  |  |  |  | Upstream of the outlet valve |  |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  | NO |  |  |  |
|  |  |  |  | Specify your own option |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17.2 | The metering unit based on specific design (specify your own option) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17.3 | Redundant design of the gas flow metering line |  |  | YES |  |  |  |  |  |  |  | NO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17.4 | Type of the gas volume corrector (computer) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17.5 | Redundant design of the gas volume corrector (computer) |  |  | YES |  |  |  |  |  |  | NO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17.6 | Redundant design of the gas flow metering unit |  |  | YES |  |  |  |  |  |  | NO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18. | Gas odorization |  |  | YES |  |  |  |  |  |  | NO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18.1 | Location of the odorization unit |  |  | Separately in the automatic gas odorization module (AGOU) |  |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  | NO |  |  |  |  |  |
|  |  |  |  | Together with the switching unit in a separate compartment |  |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  | NO |  |  |  |  |  |
|  |  |  |  | Specify your own option |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18.2 | Completed with the odorant storage and release tank (specify the volume and type of design). |  |  | Type |  | Volume, m3 |  |  |  |  |  |  |  |  |  |  |  |  | No |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Underground |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Aboveground |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19. | Availability of a flow chromatograph with a sample preparation system (in a separate questionnaire) |  |  | YES |  |  |  |  |  |  |  |  |  | NO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20. | Availability of a water dew point analyzer with a sample preparation system |  |  | YES |  |  |  |  |  |  |  |  |  | NO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21. | Availability of an HC dew point analyzer with a sample preparation system |  |  | YES |  |  |  |  |  |  |  |  |  | NO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22. | Availability of a local PCS for AGDS (in a separate questionnaire – https://gas-systems.kz/questionnaires ) |  |  | YES |  |  |  |  |  |  |  |  |  | NO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22.1 | Recording of AGDS's process parameters (please, specify): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22.2 | Availability of a backup power supply |  |  | Gasoline generator |  |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  |  | NO |  |  |
|  |  |  |  | Diesel power station |  |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  |  | NO |  |  |
|  |  |  |  | Packaged power station |  |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  |  | NO |  |  |
|  |  |  |  | Specify your own option |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22.3 | Voltage of valve control units, V |  |  | 24 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  |  |  |  | NO |
|  |  |  |  | 110 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  |  |  |  | NO |
| 22.4 | The number of terminals of the power supply system, voltage and type of power supply |  |  | Two terminals c/w automatic transfer switch |  |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  |  |  |  | NO |
|  |  |  |  | One terminal w/o automatic transfer switch |  |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  |  |  |  | NO |
|  |  |  |  | One terminal + gasoline generator |  |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  |  |  |  | NO |
|  |  |  |  | Specify your own option |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22.5 | Data transferring method to the control room via |  |  | Wired line |  |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  |  |  | NO |  |
|  |  |  |  | Radio channel |  |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  |  |  | NO |  |
| 22.6 | Distance from AGDS to the control room, m |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23. | Availability of the modular control room (Instrumentation). |  |  | YES |  |  |  |  |  |  |  |  |  | NO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23.1 | Please, specify the additional welfare facilities of the modular control room (Instrumentation): Recreation room, meal room, workshop, bathroom, shower room, etc. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23.2 | Please, specify the additional equipment to complete the modular control room (Instrumentation): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24. | Module heating type |  |  | Electric |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  | NO |  |  |  |  |  |
|  |  |  |  | Water from your own boiler room |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  | NO |  |  |  |  |  |
|  |  |  |  | Water from an external source |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  | NO |  |  |  |  |  |
|  |  |  |  | Specify your own option |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25. | Insulating joints at AGDS's inlet and outlet gas pipelines |  |  | YES |  |  |  |  |  |  |  |  | NO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25.1 | Insulating joint type |  |  | Flanged insulating joint |  |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  | NO |  |  |  |
|  |  |  |  | Monolithic insulating joint |  |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  | NO |  |  |  |
|  |  |  |  | Specify your own option |  |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  | NO |  |  |  |
| 26 | Inter-module connections |  |  | Process piping |  |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  | NO |  |  |  |
|  |  |  |  | Cabling |  |  |  |  |  |  |  |  |  |  |  |  |  |  | YES |  |  |  |  |  | NO |  |  |  |
| 27. | Set of spare parts (if necessary, specify for how long) |  |  | Process equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  | years |  |  |  |  |  | NO |  |  |  |
|  |  |  |  | Instrumentation equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  | years |  |  |  |  |  | NO |  |  |  |
| 28. | CC TV and perimeter alarm system |  |  | YES |  |  |  |  |  |  |  |  |  |  | NO |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 29. | AGDS installation location |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 30. | Additional requirements |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 31. Gas composition |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Item No. |  | Parameter description | Unit of measurement, % | Item No. | Parameter description |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Unit of measurement, % |  |  |  |  |  |  |  |
| 31.1 |  | Methane (CH4) |  | 31.13 | Hydrogen (H2) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 31.2 |  | Ethane (С2Н6 ) |  | 31.14 | Oxygen (О2) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 31.3 |  | Propane (С3Н8) |  | 31.15 | Nitrogen (N2) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 31.4 |  | N-butane (n-С4Н10) |  | 31.16 | Carbon dioxide (CO2), |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 31.5 |  | I-butane (n-С4Н10) |  | 31.17 | Carbon monoxide (CO) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 31.6 |  | N-pentane (n-С5Н12) |  | 31.18 | Hydrogen sulfide (H2S) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 31.7 |  | I-pentane (i-С5Н12) |  | 31.19 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 31.8 |  | N-hexane (n-С6Н14) |  | 31.20 | Water (Н2О) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 31.9 |  | N-heptane (n-С7Н16) |  | 31.21 | Hydrocarbon residue |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 31.10 |  | N-octane (n-С8Н18) |  | 31.22 | Methyl alcohol (methanol) (СН3ОН) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 31.11 |  | N-nonan (n-С9Н20) |  | 31.23 | Helium (He) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 31.12 |  | N-decane (n-С10Н22) |  | 31.24 | Argon (Ar) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 32 |  | Density under standard conditions, kg/m3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 33 |  | Mass concentration of hydrogen sulfide, g/m3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 34 |  | Mass concentration of mercaptan sulfur, g/m3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 35 |  | Mass concentration of mechanical impurities, g/m3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 36 |  | Water dew point temperature at the sampling point pressure, °C |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 37 |  | HC dew point temperature at the sampling point pressure, °C |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 38 |  | Gas temperature at the sampling point, °C |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Notes:

1. A list of additionally installed electrical equipment connected to the switchboard of the supplied AGDS must be attached to the questionnaire.

2. The requirements of the questionnaire not filled in by the customer are fulfilled at the discretion of the manufacturer.

3. The final AGDS configuration is determined by positioning it relative to the facility and is specified during the conclusion of the supply contract, while the completed questionnaire is an integral part of the supply contract and serves as the basic technical document for AGDS manufacturing.

4. ATTENTION! The questionnaire cannot be changed after production of AGDS is started.

Customer's details:

Company name:_____________________________________________________

Postal address: __________________________________________________________________

__________________________________________________________________

Legal address: __________________________________________________________________

__________________________________________________________________

Tel.: ____________________

Fax: ___________________

e-mail: __________________

Web-site: ____________________

Notes:

The cost and delivery time are agreed upon after filling out the questionnaire.

Customer's representative:

Position _______________________

Full name        _______________________

Signature     _______________________

Date            _______________________                                       Stamp here