QUESTIONNAIRE

Main gas control station (MGCS)

| Item No. | Parameter description |  |  |  |  | Value |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Operating (gauge) pressure in the gas pipeline at MGCU inlet |  |  |  | Pin. max, MPa |  |
|  |  |  |  |  | Pin. min, MPa |  |
| 2 | Number of outlets (1, 2, other) |  |  |  |  |  |
| 3 | Outlet pressure for each outlet |  |  |  | P1out., kPa |  |
|  |  |  |  |  | P2out., kPa |  |
| 4 | Gas consumption at each outlet |  |  |  | Q1max, ncm/h |  |
|  |  |  |  |  | Q1min, ncm/h |  |
|  |  |  |  |  | Q2max, ncm/h |  |
|  |  |  |  |  | Q2min, ncm/h |  |
| 5 | Ambient temperature |  |  |  | tmax, °С |  |
|  |  |  |  |  | tmin, °С |  |
| 6 | Gas temperature at MGCU inlet |  |  |  | tmax, °С |  |
|  |  |  |  |  | tmin, °С |  |
| 7 | Climatic version according to GOST 15150-69 |  |  |  |  |  |
| 8 | Area seismicity, intensity degrees according to SNIP II-7-81 |  |  |  |  |  |
| 9 | Requirements for gas purification degree (specify the permissible sizes of solid particles (microns) at MGCU outlet and the maximum permissible content of mechanical impurities, mg/m3) |  |  |  |  |  |
| 10 | Need for redundant design of the gas purification unit |  |  |  |  |  |
| 11 | Need for gas odorization |  |  |  |  |  |
| 12 | Need for gas heating during the cold season |  |  |  |  |  |
| 13 | Need for redundant design of the heating unit |  |  |  |  |  |
| 14 | Minimum outlet gas temperature (for MGCU with the gas heating unit), tmin °C |  |  |  |  |  |
| 15 | Regulator type |  |  |  |  |  |
| 16 | Need for redundant design of the pressure reduction line |  |  |  |  |  |
| 17 | Need for gas fiscal metering |  |  |  |  |  |
| 18 | Choosing the meter type |  |  | Turbine meter unit |  |  |
|  |  |  |  | Rotary meter unit |  |  |
|  |  |  |  | Vortex flow meter unit |  |  |
|  |  |  |  | Ultrasonic flow meter unit |  |  |
|  |  |  |  | Other |  |  |
| 19 | Parameters for correcting meter readings |  |  | Temperature correction |  |  |
|  |  |  |  | Temperature and pressure correction |  |  |
| 20 | Corrector type |  |  |  |  |  |
| 21 | Need for redundant design of the metering unit |  |  |  |  |  |
| 22 | Need for gas metering for technical needs |  |  |  |  |  |
| 23 | Need for redundant design of gas metering for technical needs |  |  |  |  |  |
| 24 | Need to install a process control system (MGCU PCS) |  |  |  |  |  |
| 25 | Safety parameters of MGCU with PCS in case of an accident |  | Automatic shut-off of the inlet gas supply |  |  |  |
|  |  |  | Automatic shut-off of inlet and outlet gas supply |  |  |  |
|  |  |  | Automatic shut-off of inlet and outlet gas supply and automatic gas discharge |  |  |  |
| 26 | Need for remote transmission of process information and alarms to the control panel |  |  |  |  |  |
| 27 | Data transmission method |  |  | GSM/GPRS channel |  |  |
|  |  |  |  | Radio channel |  |  |
|  |  |  |  | Telephone line |  |  |
| 28 | Presence of a gas pollution control system |  |  |  |  |  |
| 29 | Presence of a fire alarm system |  |  |  |  |  |
| 30 | Need for electricity metering |  |  |  |  |  |
| 31 | Сontainer heating type | Gas |  |  |  |  |
|  |  | Electric |  |  |  |  |
|  |  | Water from an external source |  |  |  |  |
| 33 | Installation location |  |  |  |  |  |
| 34 | MGCU shipping address, specifying the consignee |  |  |  |  |  |

Special and additional requirements for MGCU manufacture and configuration

________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Note:

This questionnaire as filled out by the customer contains the technical requirements for MGCU and can serve as a document for preparing a quotation, as well as developing terms of reference for MGCU design and manufacture.

Customer's details:

Company name:_____________________________________________________

Postal address: __________________________________________________________________

__________________________________________________________________

Legal address: __________________________________________________________________

__________________________________________________________________

Tel.: ____________________

Fax: ___________________

e-mail: __________________

Web-site: ____________________

Notes:

The cost and delivery time are agreed upon after filling out the questionnaire.

Customer's representative:

Position _______________________

Full name        _______________________

Signature     _______________________

Date            _______________________                                       Stamp here