QUESTIONNAIRE

Gas control cabinet (GCC)

| Item No. | Parameter description |  |  |  | Value |
| --- | --- | --- | --- | --- | --- |
| 1 | Operating (gauge) pressure in the gas pipeline at GCU inlet |  |  | Pin. max, MPa |  |
|  |  |  |  | Pin. min, MPa |  |
| 2 | Number of outlets (1, 2, other) |  |  |  |  |
| 3 | Outlet pressure for each outlet |  |  | P1out., kPa |  |
|  |  |  |  | P2out., kPa |  |
| 4 | Gas consumption at each outlet |  |  | Q1max, ncm/h |  |
|  |  |  |  | Q1min, ncm/h |  |
|  |  |  |  | Q2max, ncm/h |  |
|  |  |  |  | Q2min, ncm/h |  |
| 5 | Ambient temperature |  |  | tmax, °С |  |
|  |  |  |  | tmin, °С |  |
| 6 | Gas temperature at GCU inlet |  |  | tmax, °С |  |
|  |  |  |  | tmin, °С |  |
| 7 | Requirements for gas purification degree (specify the permissible sizes of solid particles (microns) at GCU outlet and the maximum permissible content of mechanical impurities, mg/m3) |  |  |  |  |
| 8 | Need for redundant design of the gas purification unit |  |  |  |  |
| 9 | Regulator type |  |  |  |  |
| 10 | Need for redundant design of the pressure reduction line |  |  |  |  |
| 11 | Need for gas fiscal metering |  |  |  |  |
| 12 | Choosing the meter type |  | Turbine meter unit |  |  |
|  |  |  | Rotary meter unit |  |  |
|  |  |  | Vortex meter unit |  |  |
|  |  |  | Ultrasonic meter unit |  |  |
|  |  |  | Other |  |  |
| 13 | Parameters for correcting meter readings |  | Temperature correction |  |  |
|  |  |  | Temperature and pressure correction |  |  |
| 14 | Corrector type |  |  |  |  |
| 15 | Need for redundant design of the metering unit |  |  |  |  |
| 16 | Need for heating the cabinet |  |  |  |  |
| 17 | Cabinet heating type | Gas |  |  |  |
|  |  | Electric |  |  |  |
|  |  | Water from an external source |  |  |  |
| 18 | Installation location |  |  |  |  |
| 19 | GCU shipping address, specifying the consignee |  |  |  |  |

Special and additional requirements for GCC manufacture and configuration

_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Note:

This questionnaire as filled out by the customer contains the technical requirements for GCC and can serve as a document for preparing a quotation, as well as for developing terms of reference for GCC design and manufacture.

Customer's details:

Company name:_____________________________________________________

Postal address: __________________________________________________________________

__________________________________________________________________

Legal address: __________________________________________________________________

__________________________________________________________________

Tel.: ____________________

Fax: ___________________

e-mail: __________________

Web-site: ____________________

Notes:

The cost and delivery time are agreed upon after filling out the questionnaire.

Customer's representative:

Position _______________________

Full name        _______________________

Signature     _______________________

Date            _______________________                                       Stamp here