QUESTIONNAIRE

Packaged boiler houses (PBH)

| 1. Name and address of the heated facility |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2. The heated volume of each building, m3 |  |  |  |  |  |  |  |  |
| 3. Thermal capacity of the boiler house, MW (Gcal/h) |  |  |  |  |  |  |  |  |
| Including for heating |  |  |  |  |  |  |  |  |
| Hot water supply |  |  |  |  |  |  |  |  |
| Ventilation |  |  |  |  |  |  |  |  |
| Process |  |  |  |  |  |  |  |  |
| 4. Boiler house type (modular, roofed, attached, renovation, etc.) |  |  |  |  |  |  |  |  |
| 5. Main fuel |  |  |  |  |  |  |  |  |
| 6. Backup fuel |  |  |  |  |  |  |  |  |
| 7. Calculated gas pressure, MPa |  |  |  |  |  |  |  |  |
| 8. Actual gas pressure, MPa | Min (__________) |  |  |  | Max (_________) |  |  |  |
| 9. Need for GCS (Gas control skid) in the boiler house | Yes (___) |  |  |  | No (___) |  |  |  |
| 10. Need for GCC (Gas control cabinet) | Yes (___) |  |  |  | No (___) |  |  |  |
| 11. Water treatment (chemical, electromagnetic, magnetic, complex) |  |  |  |  |  |  |  |  |
| 12. Tap water pressure, (minimum) MPa |  |  |  |  |  |  |  |  |
| 13. Water analysis is enclosed | Yes (___) |  |  |  |  | No (___) |  |  |
| 14. Requirement for the gas metering unit (meter, t, P corrector) |  |  |  |  |  |  |  |  |
| 15. Need for heat meters | Yes (___) |  |  |  |  | No (___) |  |  |
| 15.1 Metering unit type (manufacturer) |  |  |  |  |  |  |  |  |
| 15.2 Flow meter type |  |  |  |  |  |  |  |  |
| 16. Need for a hot water meter | Yes (___) |  |  |  |  | No (___) |  |  |
| 16.1 Metering unit type (manufacturer) |  |  |  |  |  |  |  |  |
| 16.2 Flow meter type |  |  |  |  |  |  |  |  |
| 17. Need for a source (tap) water meter | Yes (___) |  |  |  |  | No (___) |  |  |
| 18. Pump (fixed speed, with frequency changer) |  |  |  |  |  |  |  |  |
| 19. Connection diameters (T1, T2, T3, T4, B1) |  |  |  |  |  |  |  |  |
| 20. Requirement for heating agent temperature control (semi-automatic, automatic according to outdoor temperature) |  |  |  |  |  |  |  |  |
| 21. Type of boiler house maintenance (automated signalling to the control room, service personnel with welfare facilities, wireless communication) |  |  |  |  |  |  |  |  |
| 22. Boiler house category by reliability of heat supply |  |  |  |  |  |  |  |  |
| 23. Maximum distance of the consumer from the heat source (m.) |  |  |  |  |  |  |  |  |
| 24. Maximum temperature of the heating agent (95, 115°C) |  |  |  |  |  |  |  |  |
| 25. Type of heating system (dependent, independent) |  |  |  |  |  |  |  |  |
| 26. Pressure in the supply pipeline of the heating system, MPa |  |  |  |  |  |  |  |  |
| 27. Pressure in the return pipeline of the heating system, MPa |  |  |  |  |  |  |  |  |
| 28. Pressure in the supply pipeline of the GAM (Gas-air mixture) system, MPa |  |  |  |  |  |  |  |  |
| 29. Pressure in the return pipeline of the GAM system, MPa |  |  |  |  |  |  |  |  |
| 30. Exhaust stack design |  |  |  |  |  |  |  |  |
| 30.1 Presence of the aircraft warning lights and exhaust stack coloring | Yes (___) |  |  | No (___) |  |  |  |  |
| 30.2 Exhaust stack height, m |  |  |  |  |  |  |  |  |
| 31. Area seismicity, MSK-64 intensity degrees |  |  |  |  |  |  |  |  |
| 32. Climatic version according to GOST 15150-69 |  |  |  |  |  |  |  |  |

33. Special conditions of the Customer: ________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Customer's details:

Company name:__________________________________________

Postal address: __________________________________________________________________

__________________________________________________________________

Legal address: __________________________________________________________________

__________________________________________________________________

Tel.: ____________________

Fax: ___________________

e-mail: __________________

Web-site: ____________________

Notes:

The cost and delivery time are agreed upon after filling out the questionnaire.

Customer's representative:

Position _______________________

Full name        _______________________

Signature     _______________________

Date            _______________________                                       Stamp here