QUESTIONNAIRE

Gas metering units (GMU) of cabinet, skid and modular design

| Performance, ncm/h |  |
| --- | --- |

Please, underline the options of "YES | NO", as necessary, when filling out this questionnaire.

| 1. | Design gas pressure, MPa | Min |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Max |  |  |  |  |  |  |  |  |  |
| 2. | Operating gas pressure, MPa | Min |  |  |  |  |  |  |  |  |  |
|  |  | Max |  |  |  |  |  |  |  |  |  |
| 3. | Design | Modular gas metering unit |  |  |  | YES |  |  | NO |  |  |
|  |  | Gas metering cabinet |  |  |  | YES |  |  | NO |  |  |
|  |  | Gas metering skid |  |  |  | YES |  |  | NO |  |  |
| 4. | Number of outlet lines |  |  |  |  |  |  |  |  |  |  |
| 5. | Gas consumption for each consumer individually, ncm/h | Consumer | I |  |  |  |  | II |  |  |  |
|  |  | Min |  |  |  |  |  |  |  |  |  |
|  |  | Max |  |  |  |  |  |  |  |  |  |
| 6. | Climatic version according to GOST 15150-69 |  |  |  |  |  |  |  |  |  |  |
| 7. | Ambient temperature, °C | Min |  |  |  |  |  |  |  |  |  |
|  |  | Max |  |  |  |  |  |  |  |  |  |
| 8. | Seismicity according to SNIP II-7-81, intensity degrees |  |  |  |  |  |  |  |  |  |  |
| 9. | Snow load, kPa |  |  |  |  |  |  |  |  |  |  |
| 10. | Wind load, kPa |  |  |  |  |  |  |  |  |  |  |
| 11. | Gas temperature, °C | Min |  |  |  |  |  |  |  |  |  |
|  |  | Max |  |  |  |  |  |  |  |  |  |
| 12. | Gas purification unit for treatment from mechanical impurities | YES |  |  | NO |  |  |  |  |  |  |
| 12.1 | The degree of gas purification from solid impurities, μm |  |  |  |  |  |  |  |  |  |  |
| 12.2 | Redundant design of Gas purification unit for treatment from mechanical impurities and droplet liquid | YES |  |  | NO |  |  |  |  |  |  |
| 13 | The metering unit based on specific design (specify your own option) |  |  |  |  |  |  |  |  |  |  |
| 13.1 | Redundant design of the gas flow metering line | YES |  |  | NO |  |  |  |  |  |  |
| 13.2 | Type of the gas volume corrector (computer) |  |  |  |  |  |  |  |  |  |  |
| 14. | Availability of telemetry | YES |  |  | NO |  |  |  |  |  |  |
| 15. | Heating type | Electric |  |  |  |  | YES |  |  | NO |  |
|  |  | Gas |  |  |  |  | YES |  |  | NO |  |
|  |  | Water from an external source |  |  |  |  | YES |  |  | NO |  |
|  |  | Specify your own option |  |  |  |  |  |  |  |  |  |
| 16. | Installation location |  |  |  |  |  |  |  |  |  |  |
| 17. | Additional requirements |  |  |  |  |  |  |  |  |  |  |

Notes:

1. Gas composition data must be enclosed to the questionnaire indicating the content of mechanical impurities by mass and volume.

2. The requirements of the questionnaire not filled in by the customer are fulfilled at the discretion of the manufacturer.

3. The final configuration is determined by positioning GMU relative to the facility and is specified during the conclusion of the supply contract, while the completed questionnaire is an integral part of the supply contract and serves as the basic technical document for GMU manufacturing.

4. ATTENTION! The questionnaire cannot be changed after production of GMU is started.

Customer's details:

Company name:_____________________________________________________

Postal address: __________________________________________________________________

__________________________________________________________________

Legal address: __________________________________________________________________

__________________________________________________________________

Tel.: ____________________

Fax: ___________________

e-mail: __________________

Web-site: ____________________

Notes:

The cost and delivery time are agreed upon after filling out the questionnaire.

Customer's representative:

Position _______________________

Full name        _______________________

Signature     _______________________

Date            _______________________                                       Stamp here